## sheet-1
Control Valve Specification Sheet
|  | Customer |  |  |  |  | Quote No
|  | Customer_2 |  |  |  | 501 | W/O No
|  | 1 |  |  |  | 0 | Serial No
|  | RFQ No |  |  |  | N/A | Tag No
|  | PO No |  |  |  | 111 | Item No / Qty
Application | [5 empty] | 1
Fluid State / Name |  |  |  |  | Critical Pressure. | 10 | 100 bar | Shutoff Pressure. |  | 275.5
AA | Valve Sizing Calculation |  | Units | Case 1 | Case 2 |  | Case 3 | Case 4 |  | Case 5
1 | Flow Rate | Liquid | m3/hr | 1000 | 1000 |  | 1000
2 | Inlet Pressure |  | bar | 10 | 10 |  | 10
3 | Outlet Pressure |  | bar | 9 | 9 |  | 9
4 | Inlet Temperature |  | C | 30 | 30 |  | 30
5 | Specific Gravity |  |  | 0.85 | 0.85 |  | 0.85
6 | Kinematic Viscosity |  | centipose | 1000 | 1000 |  | 1000
7 | Vapour Pressure |  | bar | 0.1 | 0.1 |  | 0.1
8 | Liquid Pr. Recovery factor, Fl |  |  | 0.647 | 0.626 |  | 0.66
9 | Calculated Cv |  |  | 1279.524 | 1276.459 |  | 1295.559
10 | Percentage Opening / Degree |  | % | 64 | 64 |  | 64
11 | Noise level at 1m distance |  | dB | 63.54 | 63.6 |  | 63.64
12 | Inlet Pipe Velocity |  | m/s | 8.609 | 8.609 |  | 8.609
13 | Outlet Pipe Velocity |  | m/s | 8.609 | 8.609 |  | 8.609
14 | Trim Exit Velocity |  | m/s | 0.277 | 0.277 |  | 0.275
15 | Warnings!!
BB | Pipe Line Data |  |  |  | BB | Actuator Data
16 | Size / Schedule Inlet |  |  |  | 44 | Actuator Type
17 | Size / Schedule Oulet |  |  |  | 45 | Actuator Model No. / Travel
18 | Insulation |  |  |  | 46 | Actuator Size / Spring
19 | Design Pressure |  |  |  | 47 | Air Fail Action
20 | Design Temp. Min / Max | 8 | inch |  | 48 | Air Supply / Set pressure | Spring & Diaphragm
CC | Valve Body & Bonnet | 8 | inch |  | 49 | Actuator Orientation | /1.5
21 | Valve Mfg / Model No. |  |  |  | 50 | Handwheel | 105.0
22 | Size / Rating | 10 |  |  | 51 | Travel Stops | AFO
23 | Body Style | 30 |  |  | 52 | Tubing make / Size | 80/60.0
24 | Body Material |  |  |  | 53 | Fittings | none
25 | End Connections | 10-1301 |  |  | 54 | Open / Close / Trip Time | Side Mounted
26 | End Finish / Preparation | 8 | inch | 150 | FF | Accessories & Tubing
27 | Body F/F Dim | globe |  |  | 55 | Positioner Mfg / Model
28 | Bonnet Type | RPTFE |  |  | 56 | Signal Action
29 | Bonnet Material | None |  |  | 57 | AFR Mfg / Model
30 | Extension dimension | N/A |  |  | 58 | Position Transmitter
31 | Body/Bonnet NDE1 / NDE2 |  |  |  | 59 | Limit switch / Proximity switch
32 | Bonnet Bolting | Standard |  |  | 60 | Boosters
33 | Gasket Material | ASTM A216 WCB |  |  | 61 | Pilot Valves
34 | Gland Packing |  |  |  | 62 | Air Lock Relay
DD | Valve Trim | None |  |  | 63 | I/P converter Mfg / Model
35 | Trim Size / Type | None |  |  | 64 | Solenoid Valve Mfg / Model
36 | Rated CV / Characteristic | None |  |  | 65 | Solenoid Action
37 | Flow Direction / Balancing | Standard for Service |  |  | 66 | Volume Tank
38 | Stem Material |  |  |  | GG | Testing, Certification, Cleaning, Painting
39 | Plug Material |  |  |  | 67 | Testing
40 | Seat Material | Ported |  |  | 68 | Assembly cleaning procedure
41 | Cage or Clamp Material | 1281.062 |  |  | 69 | Painting Specification
42 | Seat Leakage Class | UNBALANCED |  |  | 70 | Product Certification
43 | Bellows Material | over
HH | Notes | 316 SS | [6 empty] | Revision Control
71 | N1- MPI-Body/Bnt Castings/Forgings to ASME B16.34 at Foundry/Forge | None | [6 empty] | Rev. | By | Date
72 |  | ANSI Class II
73
74
75
76
77
78
79
80
81
82
83
84
FLOW CONTROL COMMUNE | [10 empty] | FR/AE/004